## Instrument
RelatedStreamNo1 | RelatedStreamNo2 | SPID | AreaNumber | Function | Measured | TagSeqNumber | TagSuffix | TagNumber | Service | P&IDNumber | Inst.Type | Linesize | Materialclass | Sequenceno | Location | Phaseupper | FluidHandledupper | Phasemiddle | FluidHandledmiddle | Phaselower | FluidHandledlower | OperatingPressuremin | OperatingTemperaturemin | OperatingPressurenor | OperatingTemperaturenor | OperatingPressuremax | OperatingTemperaturemax | Flowratemin | Flowratenor | Flowratemax | Flowratedesign | DesignPressure | DesignTemperature | Densityupper | Densitymiddle | Densitylower | Viscosity | MolecularWeight | SpecificHeatRatio | Compressibility | Conductivity | ProcessRemark | NACEMR-0175 | Corrosive | Errosive | MeterRangemin | MeterRangemax | PressureDropmin | PressureDropnor | PressureDropmax | Setpoint1 | Setpoint2 | Setpoint3 | Setpoint4 | Setpoint5 | Setpoint6 | Setpoint7 | Setpoint8 | Setpoint9 | Setpoint10 | SetPressureover | SetPressurevacuum | RelieveingTemperature | RelieveingLoadin | RelieveingLoadout | SizingBasis | BackPressuresuperconst | BackPressuresupervariable | BackPressurebuiltup | BackPressuretotal | Allowableoverpressurein | Allowableoverpressureout | OrificeSize | ShutoffPressure | Flash% | DataSource | System | I/OType | SubSystem | I/OType2 | IS/Non-IS | RIE/FAR | Processconnectionsize | Material | Rating | Flangetype | Tracing | ExternalPower | Hookup | Scope | Equipmentnumber | RFQnumber | Inst.Desc | ACC'Y1 | ACC'Y2 | ACC'Y3 | ACC'Y4 | ACC'Y5 | ACC'Y6 | ACC'Y7 | ACC'Y8 | ACC'Y9 | ACC'Y10
Instrument_original.xlsx 에서 열이름 |  | SP_ID | b_Unit | InstrumentTypeModifier | MeasuredVariableCode | TagSequenceNo | TagSuffix | ItemTag |  | 엑셀 세트 tab 이름 | InstrumentType | [39 empty] | b_InstrumentDesc1 | b_InstrumentDesc2 | b_InstrumentDesc5 | b_InstrumentDesc4 | b_InstrumentDesc3 | [21 empty] | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제 | 열삭제
|  | D43377CC0E664E10BF05622BC7D7F8A9 | 2800 | G | T | 002 |  | 2800-TG-002 |  | 2800-101 | Discrete single-funct instr
|  | 80EF830B26854499B35DD101DD2C550B | 2800 | I | F | 001 |  | 2800-FI-001 |  | 2800-101 | DCS function
|  | 6208FCD034004010AF39D4D2CCCEF31F | 2800 | W | T | 003 |  | 2800-TW-003 |  | 2800-101 | Temp Well
|  | F9B169A4339D410883FF80DE149A090B | 2800 | I | T | 001 |  | 2800-TI-001 |  | 2800-101 | DCS function | [42 empty] | L
|  | 614CEFEE54CF401184E36C75805A151E | 2800 | P | C | 001 |  | 2800-CP-001 |  | 2800-101 | Corrosion Probe
|  | BFACC46CAF4E4AC0892387F84D7AB0D0 | 2800 | G | P | 002 |  | 2800-PG-002 |  | 2800-101 | Discrete single-funct instr
|  | 99058A4680364E89A79876B076475C79 | 2800 | G | P | 006 |  | 2800-PG-006 |  | 2800-101 | Discrete single-funct instr
|  | D00CA7E9817649CFAA9B1C616B68620C | 2800 | G | P | 005 |  | 2800-PG-005 |  | 2800-101 | Discrete single-funct instr
|  | 3B49AF3C47B04695A58924A03601D872 | 2800 | G | P | 003 |  | 2800-PG-003 |  | 2800-101 | Discrete single-funct instr
|  | EDF5474D57704556BF293582D086324E | 2800 | G | P | 001 |  | 2800-PG-001 |  | 2800-101 | Discrete single-funct instr
|  | C491E294A5C2454493C6E387D41718A5 | 2800 | G | T | 004 |  | 2800-TG-004 |  | 2800-101 | Discrete single-funct instr
|  | 21456AB966E944C784E8E81292326D2A | 2800 | W | T | 004 |  | 2800-TW-004 |  | 2800-101 | Temp Well
|  | DA46AA6B18FF412D8E32B74458667D27 | 2800 | W | T | 002 |  | 2800-TW-002 |  | 2800-101 | Temp Well
|  | EC200178914043A392E3AFA0E1D48CB0 | 2800 | W | T | 001 |  | 2800-TW-001 |  | 2800-101 | Temp Well
|  | 9437AFFA45A54BBBA74A1AFD8CB82E4D | 2800 | E | F | 001 |  | 2800-FE-001 |  | 2800-101 | Orif plate & flanges
|  | D054F70F0E554EF3AB1872425EE729C0 | 2800 | T | C | 001 |  | 2800-CT-001 |  | 2800-101 | Corrosion Probe
|  | 73B5467C0C9D46E5A291112865F49CA9 | 2800 | E | T | 001 |  | 2800-TE-001 |  | 2800-101 | Discrete single-funct instr | [39 empty] | FF |  |  | RTD
|  | 25BB3AF5763642E2946662B4784FB71B | 2800 | I | C | 001 |  | 2800-CI-001 |  | 2800-101 | Computer function
|  | B6D47D4338F6471CBE2233440699BFEA | 2800 | G | T | 003 |  | 2800-TG-003 |  | 2800-101 | Discrete single-funct instr
|  | 2CF1CA8C9D5C4CB084EF176D69E6F0A0 | 2800 | T | F | 001 |  | 2800-FT-001 |  | 2800-101 | Discrete single-funct instr | [39 empty] | FF
|  | 58602B82C3CC41C7AA36C7B78C98226D | 2800 | G | P | 004 |  | 2800-PG-004 |  | 2800-101 | Discrete single-funct instr
|  | B01F89046EC741098E956D14F2C4BF90 | 2800 | I | T | 023 |  | 2800-TI-023 |  | 2800-102 | DCS function | [39 empty] | H
|  | FA493444861F417E8FAE4B395CE21E58 | 2800 | W | T | 022 | C | 2800-TW-022C |  | 2800-102 | Temp Well
|  | 0662751BD5FC44FEA3330F61E4E22360 | 2800 | Y | PD | 023 |  | 2800-PDY-023 |  | 2800-102 | DCS function
|  | 358D136F9F224C569B75B0345698CAAF | 2800 | T | L | 026 |  | 2800-LT-026 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF |  |  | GWR
|  | 165AC4E1DCFA4B4491D5BF4A90FA1A9D | 2800 | I | L | 026 |  | 2800-LI-026 |  | 2800-102 | Discrete single-funct instr
|  | 222EE7DA20D14C4E839860B45959CC59 | 2800 | V | F | 020 |  | 2800-FV-020 |  | 2800-102 | Globe control valve | [39 empty] | FF
|  | 6F74E0C40A3D478EA941AA2DD6CD4947 | 2800 | W | T | 022 | B | 2800-TW-022B |  | 2800-102 | Temp Well
|  | 007D2375BFFC470FB68D1412926A0DDF | 2800 | I | T | 022 | C | 2800-TI-022C |  | 2800-102 | DCS function
|  | A65C77C293B148B8943D4344AE16009E | 2800 | XT | L | 023 |  | 2800-LXT-023 |  | 2800-102 | Discrete single-funct instr | [42 empty] | GWR
|  | 8AF376BFF76146BC962024AC5B3621B9 | 2800 | SV | P | 022 | A | 2800-PSV-022A |  | 2800-102 | Angle press relief valve
|  | DF6C939CF2BF4A6692209AE2FC4EB353 | 2800 | SV | P | 024 | A | 2800-PSV-024A |  | 2800-102 | Angle press relief valve
|  | 58F2A2C014A04772B2BF73D121F982E4 | 2800 | W | T | 031 |  | 2800-TW-031 |  | 2800-102 | Temp Well
|  | 52A0223040F54DA982B15AAFE22FCAC8 | 2800 | IC | F | 020 |  | 2800-FIC-020 |  | 2800-102 | DCS function | [39 empty] | H |  |  | L
|  | C011957F157143CD8F84155E50C9F376 | 2800 | G | L | 022 | B | 2800-LG-022B |  | 2800-102 | Discrete single-funct instr
|  | 2755AA89573D4D239AA924F468A6D519 | 2800 | E | T | 031 |  | 2800-TE-031 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF |  |  | RTD
|  | 65368A92D554440F8F4AF320A4235B95 | 2800 | T | C | 020 |  | 2800-CT-020 |  | 2800-102 | Discrete single-funct instr
|  | D999F53BC9B34489A5045F0BDDD2175E | 2800 | I | P | 021 |  | 2800-PI-021 |  | 2800-102 | DCS function | [39 empty] | H |  |  | L
|  | 138D7335F84E441CB15077A9316A1590 | 2800 | I | T | 020 |  | 2800-TI-020 |  | 2800-102 | DCS function | [39 empty] | H |  |  | L
|  | 8B7759D4F6D64B99A7A39680921E6F5C | 2800 | W | T | 025 |  | 2800-TW-025 |  | 2800-102 | Temp Well
|  | 39BB82909D7A463CB7FC1402EBA77D1B | 2800 | T | L | 022 |  | 2800-LT-022 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF |  |  | DP
|  | A0FA3DB93488481690DBC3850D0F5F18 | 2800 | T | F | 020 |  | 2800-FT-020 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF
|  | 24938AD6F93249A6AEA80305EAA20A8F | 2800 | T | P | 021 |  | 2800-PT-021 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF
|  | 6BA6B070B8BE4D068E990E27AA72230B | 2800 | T | L | 020 |  | 2800-LT-020 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF |  |  | DP
|  | 47A58F858AE1486E95C187D840526763 | 2800 | [6 empty] | 2800-102 | Diaphragm
|  | 7EC0BF4807AC4DB591B90A08DF82A55C | 2800 | P | C | 020 |  | 2800-CP-020 |  | 2800-102 | Corrosion Probe
|  | FC187F4D672443A7B29F82275E2FEE33 | 2800 | SD | E |  |  |  |  | 2800-102 | ESD Interlock Function | [39 empty] | 001
|  | 3C89B10E297F49509158C0BC22BC7E97 | 2800 | G | L | 022 | A | 2800-LG-022A |  | 2800-102 | Discrete single-funct instr
|  | C7C20B91386547A8A1A8A816E22CC01B | 2800 | SV | P | 024 | B | 2800-PSV-024B |  | 2800-102 | Angle press relief valve
|  | A83864F128684B01B288EEBC15318D5B | 2800 | E | T | 022 | A | 2800-TE-022A |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF |  |  | RTD
|  | 22ACBEEF71C44D08B71F76F292F801EB | 2800 | I | T | 031 |  | 2800-TI-031 |  | 2800-102 | DCS function
|  | ABB67E1284194CA5A7F41FC933EFD23A | 2800 | V | T | 025 |  | 2800-TV-025 |  | 2800-102 | Globe control valve | [39 empty] | FF
|  | 3E43BC86B68F45429FCD522E78AC04A8 | 2800 | XI | L | 023 |  | 2800-LXI-023 |  | 2800-102 | DCS function
|  | 326A7665A8EB4AD8A5AB82884287E494 | 2800 | [6 empty] | 2800-102 | Function
|  | 9931AC55BE3B4B3581DA7743AD76B4CA | 2800 | W | T | 020 |  | 2800-TW-020 |  | 2800-102 | Temp Well
|  | 57DC174AD4A84FE59C9CFBCD1AC80B46 | 2800 | IC | L | 020 |  | 2800-LIC-020 |  | 2800-102 | DCS function | [39 empty] | HH | H |  | LL | L
|  | 2B30A597BCE241DF83D8993AAC00FCC8 | 2800 | T | P | 023 |  | 2800-PT-023 |  | 2800-102 | Discrete single-funct instr
|  | 870C45BDE16A443A808872CC6ED6918B | 2800 | G | L | 024 |  | 2800-LG-024 |  | 2800-102 | Discrete single-funct instr | [42 empty] | MAG
|  | 81F92E0B176D4067A79E9F193DBB3279 | 2800 | E | T | 022 | C | 2800-TE-022C |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF
|  | 821F288086094422A4274285CFBAF679 | 2800 | I | L | 025 |  | 2800-LI-025 |  | 2800-102 | DCS function | [39 empty] | H |  |  | L
|  | 071A67918DA84E59A09B2214741FFEA5 | 2800 | [6 empty] | 2800-102 | Diaphragm
|  | 86BE8BB58F9A4FCAA272C14DD5632375 | 2800 | IC | T | 025 |  | 2800-TIC-025 |  | 2800-102 | DCS function | [39 empty] | H |  |  | L
|  | 2F65AB2B4E394DB68F82A1F421641598 | 2800 | V | L | 026 |  | 2800-LV-026 |  | 2800-102 | Globe control valve | [39 empty] | FF
|  | 732E059295064106BF2EB36A269D02EA | 2800 | T | T | 025 |  | 2800-TT-025 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF
|  | B4F38B7828314E4CAA930A7F83728AFA | 2800 | SV | P | 022 | B | 2800-PSV-022B |  | 2800-102 | Angle press relief valve
|  | E07C50E84AE7456683891CD365772359 | 2800 | W | T | 023 |  | 2800-TW-023 |  | 2800-102 | Temp Well
|  | 113908004EC540FF883850C8DD78D1AF | 2800 | I | T | 022 | B | 2800-TI-022B |  | 2800-102 | DCS function
|  | ABB00C98C61849A7870EF12332FC542F | 2800 | T | L | 025 |  | 2800-LT-025 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF |  |  | GWR
|  | BC9B758123694AE1B6923FE3C755FC1E | 2800 | E | T | 023 |  | 2800-TE-023 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF |  |  | RTD
|  | 0FFDBE403F5145F09D6FC43635F4AA49 | 2800 | [6 empty] | 2800-102 | Diaphragm
|  | 28290C92DD764558B4032CC83F0F45F7 | 2800 | XLL | L | 023 |  | 2800-LXLL-023 |  | 2800-102 | DCS function
|  | A9782591E1804B03AB7E4D4B2710D342 | 2800 | I | T | 022 | A | 2800-TI-022A |  | 2800-102 | DCS function | [39 empty] | H
|  | 6DAF7C8E8C74416EAE6B0AE6E97DB1AE | 2800 | I | L | 022 |  | 2800-LI-022 |  | 2800-102 | DCS function | [39 empty] | HH | H |  | LL | L
|  | C6E95D167A3547ABA8A6D92CF00E451F | 2800 | I | P | 023 |  | 2800-PI-023 |  | 2800-102 | DCS function
|  | 1E8734DAA85D4CD3A2ACB86EF0475318 | 2800 | E | T | 025 |  | 2800-TE-025 |  | 2800-102 | Discrete single-funct instr | [42 empty] | RTD
|  | FA06C919F26541FA94E95EC740B7014C | 2800 | I | PD | 023 |  | 2800-PDI-023 |  | 2800-102 | DCS function | [39 empty] | H
|  | E8EED2060CD44C96A28AA7FCBD033C15 | 2800 | G | P | 020 |  | 2800-PG-020 |  | 2800-102 | Discrete single-funct instr
|  | 50EF0D06E0EA4E459D01364846C6193F | 2800 | I | C | 020 |  | 2800-CI-020 |  | 2800-102 | Computer function | [39 empty] | H |  |  | CMS
|  | C73120DF135942FB9027DCE17EC9B1B9 | 2800 | E | T | 020 |  | 2800-TE-020 |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF |  |  | RTD
|  | 9B0445C0426F417B8A72800800066F2F | 2800 | [6 empty] | 2800-102 | Diaphragm
|  | FE7EA6C5ED084CA598908C7903FC96C2 | 2800 | E | F | 020 |  | 2800-FE-020 |  | 2800-102 | Orif plate & flanges
|  | 15B23D68540444EDB1FE335BF29BAB2C | 2800 | IC | L | 026 |  | 2800-LIC-026 |  | 2800-102 | DCS function | [39 empty] | H |  |  | L
|  | 2FF800362B964F9D9EC040D5D27F6272 | 2800 | E | T | 022 | B | 2800-TE-022B |  | 2800-102 | Discrete single-funct instr | [39 empty] | FF
|  | 7D3610DA343A41B7B9DDFCCD93AE3425 | 2800 | V | F | 051 |  | 2800-FV-051 |  | 2800-102 | Globe control valve | [39 empty] | FF