## Drawing
F-4301 WHB2_N5
41.5 kg/cm2(g)
10 m
F-4301 WHB1_N5
41.5 kg/cm2(g)
10 m
FV-1924
20.192 kg/cm2
0.5 m
FV-1934
20.922 kg/cm2
0.5 m
sp
0 kg/cm2
0 m
sp
0 kg/cm2
0 m
sp
0 kg/cm2
0 m
BFW BL
85 kg/cm2(g)
0 m
19-FV-9905
17.15 kg/cm2
0.5 m
19-FT-9905
0.5 kg/cm2
0 m
To DS-1990
63 kg/cm2(g)
0 m
01
02
03
04
05
6
7
8
TO D-1970
NNF
09
10
R2
- 19-FT-9905 DP 조정 (BY 제어 inform. 0.2-> 0.5)
- 19-FV-9905 DP 조정 , Incinerator inlet pressure 가 63kg/cm2g 가 되도록 조정

## Loop_DB
[5 empty] | 0 |  | 10 | Loop1 | Loop2 | Loop3 | Loop4 | Loop5 | Loop6 | Loop7 | Loop8 | Loop9 | Loop10 | Loop11 | Loop12 | Loop13 | Loop14 | Loop15 | Loop16 | Loop17 | Loop18 | Loop19 | Loop20 | Loop21 | Loop22 | Loop23 | Loop24 | Loop25 | Loop26 | Loop27 | Loop28 | Loop29 | Loop30 | Loop31 | Loop32 | Loop33 | Loop34 | Loop35 | Loop36 | Loop37 | Loop38 | Loop39 | Loop40 | Loop41 | Loop42 | Loop43 | Loop44 | Loop45 | Loop46 | Loop47 | Loop48 | Loop49 | Loop50 | Pump / CV | [6 empty] | 11 | 12 |  |  | Line_Old_X | Line_Old_Y | Line | Line_X | Line_Y | Begin_point | Begin_Noz_X | Begin_Noz_Y | Begin_Eq_X | Begin_Eq_Y | End_point | End_Noz_X | End_Noz_Y | End_Equip_X | End_Equip_Y | L_Tag_X | L_Tag_Y
|  |  | CV_H_2_N2 | B_L_R_1 | 1 | 11 | Loop1: B_L_R_1_N2; Loop2: B_L_R_1_N2; Loop3: B_L_R_1_N2 | [7 empty] | 399 | 68.25 | 8.25 | 36.75 |  |  | 1 | 103.5 | 371.25 | 4 | 102 | 402 | 68.25 | 399 | 2 | 189.75 | 370.5 | 186 | 357 | 126.2877 | 376.4563
|  |  | CV_H_2_N1 | Ori_Flowmeter_H_1 | 2 |  | Loop1: Line_1; Loop2: Line_1; Loop3: Line_1 | [7 empty] | 357 | 186 | 21.75 | 11.25 |  |  | 2 | 197.25 | 371.25 | 4 | 195.75 | 370.5 | 186 | 357 | 2 | 273.75 | 369 | 271.5 | 358.5 | 215.1627 | 350.9127
|  |  | 10 | CV_H_1 | 3 |  | Loop1: Ori_Flowmeter_H_1_N1; Loop2: Ori_Flowmeter_H_1_N1; Loop3: Ori_Flowmeter_H_1_N1 | 3 | 1 | 6 | 2 | 6 | 3 | 6 | 358.5 | 271.5 | 18.75 | 18.75 |  |  | 3 | 289.5 | 321.75 | 4 | 285 | 369 | 271.5 | 358.5 | 2 | 419.25 | 319.5 | 418.5 | 315.75 | 332.5377 | 334.4563
B_L_R_1_N2 | Line_1 | Ori_Flowmeter_H_1_N1 | 111 | Line_Splitter_1 | 4 |  | Loop1: Ori_Flowmeter_H_1_N2; Loop2: Ori_Flowmeter_H_1_N2; Loop3: Ori_Flowmeter_H_1_N2 | 3 | 1 | 9 | 2 | 9 | 3 | 9 | 315.75 | 418.5 | 12 | 12 |  |  | 4 | 430.5 | 321.75 | 4 | 426 | 319.5 | 418.5 | 315.75 | 2 | 602.25 | 321 | 600.75 | 318 | 504.3313 | 299.9127
Ori_Flowmeter_H_1_N2 | Line_2 | CV_H_1_N1 | 111 | B_L_R_2 | 5 |  | Loop1: Line_2; Loop2: Line_2; Loop3: Line_2 | 1 | 1 | 12 |  |  |  |  | 318 | 600.75 | 8.25 | 36.75 |  |  | 5 | 396.375 | 287.625 | 1 | 422.25 | 315.75 | 418.5 | 315.75 | 3 | 421.5 | 255.75 | 417.75 | 248.25 | 426.3968 | 280.8532
CV_H_1_N2 | Line_3 | Line_Splitter_1_N2 | 111 | Line_Splitter_2 | 6 |  | Loop1: CV_H_1_N1; Loop2: CV_H_1_N1; Loop3: CV_H_1_N1 | 2 | 2 | 12 | 3 | 12 |  |  | 248.25 | 417.75 | 12 | 12 |  |  | 6 | 381.0001 | 205.5 | 1 | 421.5 | 248.25 | 417.75 | 248.25 | 3 | 420.75 | 159 | 417 | 151.5 | 425.6468 | 198.7282
Line_Splitter_1_N4 | Line_4 | B_L_R_2_N1 | 111 | Line_Splitter_3 | 7 |  | Loop1: CV_H_1_N2; Loop2: CV_H_1_N2; Loop3: CV_H_1_N2 | 2 | 2 | 15 | 3 | 15 |  |  | 151.5 | 417 | 12 | 12 | 429 | 157.5 | 7 | 429 | 156.75 | 4 | 424.5 | 155.25 | 417 | 151.5 | 2 | 579 | 153.75 | 576.75 | 143.25 | 482.1627 | 135.6627
Line_Splitter_1_N1 | Line_5 | Line_Splitter_2_N3 | 111 | CV_H_2 | 8 |  | Loop1: Line_3; Loop2: Line_3; Loop3: Line_3 | 1 | 3 | 18 |  |  |  |  | 103.5 | 738 | 18.75 | 18.75 | 533.6249 | -1.125 | 8 | 564.3749 | -24.375 | 1 | 420.75 | 151.5 | 417 | 151.5 | 2 | 740.25 | 114 | 738 | 103.5 | 570.7063 | 94.4127
Line_Splitter_2_N1 | Line_6 | Line_Splitter_3_N3 | 111 | CV_H_3 | 9 |  | Loop1: Line_Splitter_1_N2; Loop2: Line_Splitter_1_N2; Loop3: Line_Splitter_1_N2 | 1 | 2 | 18 |  |  |  |  | 143.25 | 576.75 | 18.75 | 18.75 | 756 | 117 | 9 | 756 | 117 | 4 | 751.5 | 114 | 738 | 103.5 | 3 | 895.5 | 165 | 878.25 | 140.25 | 803.9127 | 139.5
Line_Splitter_3_N4 | Line_7 | CV_H_3_N1 | 111 | Drum_H_1 | 10 |  | Loop1: Line_Splitter_1_N4; Loop2: Line_Splitter_1_N1; Loop3: Line_Splitter_1_N1 | 1 | 2 | 21 |  |  |  |  | 211.5 | 751.5 | 27 | 69 | 594.75 | 156.75 | 10 | 594.75 | 156.75 | 4 | 590.25 | 153.75 | 576.75 | 143.25 | 3 | 768.75 | 236.25 | 751.5 | 211.5 | 659.9127 | 195
Line_Splitter_3_N1 | Line_8 | CV_H_2_N1 | 111 | Drum_H_2 | 11 |  | Loop1: Line_4; Loop2: Line_5; Loop3: Line_5 | 1 | 3 | 21 |  |  |  |  | 159 | 904.5 | 27 | 69 | [5 empty] | 0 |  |  |  |  | 3
CV_H_2_N2 | Line_9 | Drum_H_2_N5 | 111 |  |  |  | Loop1: B_L_R_2_N1; Loop2: Line_Splitter_2_N3; Loop3: Line_Splitter_2_N3
CV_H_3_N2 | Line_10 | Drum_H_1_N5 | 111 |  |  |  | Loop2: Line_Splitter_2_N1; Loop3: Line_Splitter_2_N1
[9 empty] | Line_6 | Line_6
[9 empty] | Line_Splitter_3_N3 | Line_Splitter_3_N3
[9 empty] | Line_Splitter_3_N4 | Line_Splitter_3_N1
[9 empty] | Line_7 | Line_8
[9 empty] | CV_H_3_N1 | CV_H_2_N1
[9 empty] | CV_H_3_N2 | CV_H_2_N2
[9 empty] | Line_10 | Line_9
[9 empty] | Drum_H_1_N5 | Drum_H_2_N5

## Calc_DB
bd | Drum | D | Col | C | ME | M | BL | B | Tank | T | HEX | X | HEX_P | E | AF_Cooler | A | Filter | F | Strainer | S | M_DP_E | Z | Pump | P | Comp | K | Valve | V | Line_Splitter | L | Flowmeter | W | Reducer | R | [165 empty] | Equivalent | Crane | 2-K | 3-K | ((1.05*G)^2-1)*(A+C) | 0.33*(A+C) | 0.7 |  | darcy | Baro_Value | 1.033 | 1 | Total_Input | 0
0.95 | D | d | C | c | M | m | B | b | T | t | X | x | E | e | A | a | F | f | S | s | Z | z | P | p | K | k | V | v | L | l | W | w | R | r | [165 empty] | 1 | 1 | 1 | 0 | ((1.05*G)^2-1)*(A+C) | 0.33*(A+C) | 0.7 |  |  | Baro_Unit | kg/cm2 |  | 2-Phase Clac | 0.95
Loop1 | d: 12; M: Loop2; m: Pressure (g); B: 21; t: Loop3; X: Pressure (g); x: 21; A: Loop4; a: Pressure (g); F: 0; s: Loop5; Z: Pressure (g); K: Loop6; k: Pressure (g); l: Loop7; W: Pressure (g) | Loop8 | Pressure (g) |  |  | Loop9 | Pressure (g) |  |  | Loop10 | Pressure (g) |  |  | Loop11 | Pressure (g) |  |  | Loop12 | Pressure (g) |  |  | Loop13 | Pressure (g) |  |  | Loop14 | Pressure (g) |  |  | Loop15 | Pressure (g) |  |  | Loop16 | Pressure (g) |  |  | Loop17 | Pressure (g) |  |  | Loop18 | Pressure (g) |  |  | Loop19 | Pressure (g) |  |  | Loop20 | Pressure (g) |  |  | Loop21 | Pressure (g) |  |  | Loop22 | Pressure (g) |  |  | Loop23 | Pressure (g) |  |  | Loop24 | Pressure (g) |  |  | Loop25 | Pressure (g) |  |  | Loop26 | Pressure (g) |  |  | Loop27 | Pressure (g) |  |  | Loop28 | Pressure (g) |  |  | Loop29 | Pressure (g) |  |  | Loop30 | Pressure (g) |  |  | Loop 31 | Pressure (g) |  |  | Loop 32 | Pressure (g) |  |  | Loop 33 | Pressure (g) |  |  | Loop 34 | Pressure (g) |  |  | Loop 35 | Pressure (g) |  |  | Loop 36 | Pressure (g) |  |  | Loop 37 | Pressure (g) |  |  | Loop 38 | Pressure (g) |  |  | Loop 39 | Pressure (g) |  |  | Loop 40 | Pressure (g) |  |  | Loop 41 | Pressure (g) |  |  | Loop 42 | Pressure (g) |  |  | Loop 43 | Pressure (g) |  |  | Loop 44 | Pressure (g) |  |  | Loop 45 | Pressure (g) |  |  | Loop 46 | Pressure (g) |  |  | Loop 47 | Pressure (g) |  |  | Loop 48 | Pressure (g) |  |  | Loop 49 | Pressure (g) |  |  |  | Loop 50 | Pressure (g) |  |  |  | by [kg/cm2] | 1.033 |  | Unit Cov. | 1
3.136 |  | Static / Line / dP_Eq | El. / Density / El. | 3 | 0.000208 |  | Static / Line / dP_Eq | El. / Density / El. | 3 | 0.000208 |  | Static / Line / dP_Eq | El. / Density / El. | 3 | 19.5786 |  | Static / Line / dP_Eq | El. / Density / El. |  | 0 |  | Static / Line / dP_Eq | El. / Density / El. |  | 0 |  | Static / Line / dP_Eq | El. / Density / El. |  | 0 |  | Static / Line / dP_Eq | El. / Density / El. |  | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. | 0 |  | Static / Line / dP_Eq | El. / Density / El. |  | 0 |  | Static / Line / dP_Eq | El. / Density / El. |  | to [kg/cm2] | 1.033 |  | Calc_Start | 0
B_L_R_1_N2 | D: 85; d: 0; C: 0; M: B_L_R_1_N2; m: 85; B: 0; b: 0; t: B_L_R_1_N2; X: 85; x: 0; E: 0
Line_1 | D: 85; d: 0.404; C: 943; c: Liquid; M: Line_1; m: 85; B: 0.404; b: 943; T: Liquid; t: Line_1; X: 85; x: 0.404; E: 943; e: Liquid
Ori_Flowmeter_H_1_N1 | D: 84.596; d: 0.5; C: 0; M: Ori_Flowmeter_H_1_N1; m: 84.596; B: 0.5; b: 0; t: Ori_Flowmeter_H_1_N1; X: 84.596; x: 0.5; E: 0
Ori_Flowmeter_H_1_N2 | D: 84.096; d: 0.04714; C: 0; M: Ori_Flowmeter_H_1_N2; m: 84.096; B: 0.04714; b: 0; t: Ori_Flowmeter_H_1_N2; X: 84.096; x: 0.04714; E: 0
Line_2 | D: 84.0489; d: 0.404; C: 943; c: Liquid; M: Line_2; m: 84.0489; B: 0.404; b: 943; T: Liquid; t: Line_2; X: 84.0489; x: 0.404; E: 943; e: Liquid
CV_H_1_N1 | D: 83.6449; d: 17.15; C: 0.5; c: 0; M: CV_H_1_N1; m: 83.6449; B: 17.15; b: 0.5; T: 0; t: CV_H_1_N1; X: 83.6449; x: 17.15; E: 0.5; e: 0
CV_H_1_N2 | D: 66.4949; d: -0.04714; C: 0.5; c: 0.90914; M: CV_H_1_N2; m: 66.4949; B: -0.04714; b: 0.5; T: 0.76682; t: CV_H_1_N2; X: 66.4949; x: -0.04714; E: 0.5; e: 0.7927
Line_3 | D: 66.542; d: 0.404; C: 943; c: Liquid; M: Line_3; m: 66.542; B: 0.404; b: 943; T: Liquid; t: Line_3; X: 66.542; x: 0.404; E: 943; e: Liquid
Line_Splitter_1_N2 | D: 66.138; d: 0; C: 0; M: Line_Splitter_1_N2; m: 66.138; B: 0; b: 0; t: Line_Splitter_1_N2; X: 66.138; x: 0; E: 0
Line_Splitter_1_N4 | D: 66.138; d: 0; C: 0; M: Line_Splitter_1_N1; m: 66.138; B: 0; b: 0; t: Line_Splitter_1_N1; X: 66.138; x: 0; E: 0
Line_4 | D: 66.138; d: 0.002; C: 943; c: Liquid; M: Line_5; m: 66.138; B: 0.771; b: 943; T: Liquid; t: Line_5; X: 66.138; x: 0.771; E: 943; e: Liquid
B_L_R_2_N1 | D: 63; C: 0; M: Line_Splitter_2_N3; m: 65.367; B: 0; b: 0; t: Line_Splitter_2_N3; X: 65.367; x: 0; E: 0
[5 empty] | Line_Splitter_2_N1 | 65.367 | 0 | 0 |  | Line_Splitter_2_N1 | 65.367 | 0 | 0
[5 empty] | Line_6 | 65.367 | 1.696 | 943 | Liquid | Line_6 | 65.367 | 1.696 | 943 | Liquid
[5 empty] | Line_Splitter_3_N3 | 63.671 | 0 | 0 |  | Line_Splitter_3_N3 | 63.671 | 0 | 0
[5 empty] | Line_Splitter_3_N4 | 63.671 | 0.04714 | 0 |  | Line_Splitter_3_N1 | 63.671 | 0.04714 | 0
[5 empty] | Line_7 | 63.6239 | 0.518 | 943 | Liquid | Line_8 | 63.6239 | 0.153 | 943 | Liquid
[5 empty] | CV_H_3_N1 | 63.1059 | 20.192 | 0.5 | 0 | CV_H_2_N1 | 63.4709 | 20.922 | 0.5 | 0
[5 empty] | CV_H_3_N2 | 42.9139 | 0.89565 | 0.5 | 0.79474 | CV_H_2_N2 | 42.5489 | 0.89565 | 0.5 | 0.82347
[5 empty] | Line_10 | 42.0182 | 0.518 | 943 | Liquid | Line_9 | 41.6532 | 0.153 | 943 | Liquid
[5 empty] | Drum_H_1_N5 | 41.5 |  | 10 |  | Drum_H_2_N5 | 41.5 |  | 10

## Stream_DB
Stream No. | 10 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200 | 201 | 202 | 203 | 204 | 205 | 206 | 207 | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223 | 224 | 225 | 226 | 227 | 228 | 229 | 230 | 231 | 232 | 233 | 234 | 235 | 236 | 237 | 238 | 239 | 240 | 241 | 242 | 243 | 244 | 245 | 246 | 247 | 248 | 249 | 250 | 1 | 외
0 | - | Liquid | Liquid | Liquid | Liquid | Liquid | Liquid | Liquid | Liquid | Liquid | Liquid | [241 empty] | Liquid
Flowrate (Mass) | kg/h | 63700 | 63700 | 63700 | 1640 | 62250 | 62250 | 40500 | 21750 | 21750 | 40500 | [241 empty] | 67300
Flowrate (Volume) | m3/h | 67.55 | 67.55 | 67.55 | 1.739 | 66.013 | 66.013 | 42.948 | 23.065 | 23.065 | 42.948 | [241 empty] | 71.672
Density | kg/m3 | 943 | 943 | 943 | 943 | 943 | 943 | 943 | 943 | 943 | 943 | [241 empty] | 939
Viscosity | cP | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | [241 empty] | 0.211
Temperature | ℃
Molecular Weight | -
Specific heat ratio (Cp/Cv) | -
Compress.Factor (Z) | -
Nominal Pipe Size | in | 4 | 4 | 4 | 3 | 4 | 4 | 3 | 3 | 3 | 3 | [241 empty] | 4
Inside Pipe Size (Diameter) | in | 3.826 | 3.826 | 3.826 | 3.068 | 3.826 | 3.826 | 3.068 | 3.068 | 3.068 | 3.068 | [241 empty] | 3.826
Sch. No. | - | 80 | 80 | 80 | 40 | 80 | 80 | 40 | 40 | 40 | 40 | [241 empty] | XS
Straight Length | m | 25 | 25 | 25 | 25 | 100 | 220 | 50 | 50 | 50 | 50 | [241 empty] | 25
Equivalent Length | m | 75 | 75 | 75 | 75 | 150 | 330 | 75 | 75 | 75 | 75 | [241 empty] | 75
Roughness | m | 4.6e-05 | 4.6e-05 | 4.6e-05 | 4.6e-05 | 4.6e-05 | 4.6e-05 | 4.6e-05 | 4.6e-05 | 4.6e-05 | 4.6e-05 | [241 empty] | 4.6e-05
limitation of Velocity | m/s | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [241 empty] | 0
limitation of Press. Drop | kg/cm2/100m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [241 empty] | 0
Velocity | m/s | 2.53 | 2.53 | 2.53 | 0.101 | 2.472 | 2.472 | 2.501 | 1.343 | 1.343 | 2.501 | [241 empty] | 2.684
Reynolds | - | - | - | - | - | - | - | - | - | - | - | [241 empty] | -
Friction Factor | - | 0.017 | 0.017 | 0.017 | 0.024 | 0.017 | 0.017 | 0.018 | 0.018 | 0.018 | 0.018 | [241 empty] | 0.017
Pressure Drop | kg/cm2/100m | 0.538 | 0.538 | 0.538 | 0.002 | 0.514 | 0.514 | 0.69 | 0.204 | 0.204 | 0.69 | [241 empty] | 0.602
Pressure Drop (Friction) | kg/cm2 | 0.404 | 0.404 | 0.404 | 0.002 | 0.771 | 1.696 | 0.518 | 0.153 | 0.153 | 0.518 | [241 empty] | 0.452
Pressure Drop (Static) | kg/cm2 | 0 | 0.047 | -0.047 | 0 | 0 | 0 | 0.047 | 0.047 | 0.896 | 0.896 | [241 empty] | 0
Pressure @ Pipe end point | kg/cm2(g) | 84.596 | 83.645 | 66.138 | 63 | 65.367 | 63.671 | 63.106 | 63.471 | 41.5 | 41.5 | [241 empty] | 63
Power | kW
Fitting
Equivalent Length
gate/ball/plug | ea
globe | ea
butterfly | ea
check | ea
90 elbow | ea
45 elbow | ea
Tee branch | ea
Tee through | ea
Calculated Fitting | m
Expander | -
Reducer | -
Standard (Screw) | (90 elbow)
Standard (r/d=1) | (90 elbow)
Long-radius (r/d=1.5) | (90 elbow)
Long-radius (r/d=2) | (90 elbow)
Long-radius (r/d=3) | (90 elbow)
Long-radius (r/d=4) | (90 elbow)
Long-radius (r/d=6) | (90 elbow)
Long-radius (r/d=8) | (90 elbow)
Long-radius (r/d=10) | (90 elbow)
Long-radius (r/d=12) | (90 elbow)
Long-radius (r/d=14) | (90 elbow)
Long-radius (r/d=16) | (90 elbow)
Long-radius (r/d=20) | (90 elbow)
1 weld (90 angle) | (90 mitre)
2 welds (45 angle) | (90 mitre)
3 welds (30 angle) | (90 mitre)
6 welds (15 angle) | (90 mitre)
Standard (Screw) | (45 elbow)
1 weld (45 angle) | (45 mitre)
3 welds (15 angle) | (45 mitre)
Standard (Screw) | (180 elbow)
Standard (r/d=1) | (180 elbow)
Long-radius (r/d=1.5) | (180 elbow)
Long-radius (r/d=2) | (180 elbow)
Long-radius (r/d=3) | (180 elbow)
Long-radius (r/d=4) | (180 elbow)
Long-radius (r/d=6) | (180 elbow)
Long-radius (r/d=8) | (180 elbow)
Long-radius (r/d=10) | (180 elbow)
Long-radius (r/d=12) | (180 elbow)
Long-radius (r/d=14) | (180 elbow)
Long-radius (r/d=16) | (180 elbow)
Long-radius (r/d=20) | (180 elbow)
2 welds (90 angle) | (180 mitre)
3 welds (60 angle) | (180 mitre)
4 welds (45 angle) | (180 mitre)
6 welds (30 angle) | (180 mitre)
12 welds (15 angle) | (180 mitre)
Flow through run | (Tee)
Flow through branch | (Tee)
Standard | (globe valve)
Angled - 45 ˚ | (globe valve)
Angled - 90 ˚ | (globe valve)
Straight-way | (plug valve)
3-way, Flow through run | (plug valve)
3-way, Flow through branch | (plug valve)
Foot Valve (Poppet Disc) | (foot valve)
Foot Valve (Hinged Disc) | (foot valve)
Gate Valve | (etc valve)
Ball Valve | (etc valve)
Butterfly Valve | (etc valve)
Pipe entrance (projecting) | (pipe entrance)
Pipe entrance (flush) r/d=0.00 | (pipe entrance)
Pipe entrance (flush) r/d=0.02 | (pipe entrance)
Pipe entrance (flush) r/d=0.04 | (pipe entrance)
Pipe entrance (flush) r/d=0.06 | (pipe entrance)
Pipe entrance (flush) r/d=0.10 | (pipe entrance)
Pipe entrance (flush) r/d=0.15 | (pipe entrance)
Pipe exit (projecting) | (pipe exit)
Pipe exit (sharp-edged) | (pipe exit)
Pipe exit (rounded) | (pipe exit)
Swing Check Valve (Vertical) | (check valve)
Swing Check Valve (Angled) | (check valve)
Lift Check Valve | (check valve)
Lift Check Valve (Angled) | (check valve)
Tilting-disk Check Valve (α=5 ˚) | (check valve)
Tilting-disk Check Valve (α=15 ˚) | (check valve)
Globe Stop Check Valve | (check valve)
Globe Stop Check Valve (45 ˚) | (check valve)
Globe Stop Check Valve (inline) | (check valve)
Angled Stop Check Valve | (check valve)
Angled Stop Check Valve (45 ˚) | (check valve)
Angled Stop Check Valve (inline) | (check valve)
Resistance Coefficiency | K
Calculated Fitting | m
User Input | 0.01
2-K Method
Standard (r/d=1), screwed | (90 elbow)
Standard (r/d=1), flanged/welded | (90 elbow)
Long-radius (r/d=1.5), all | (90 elbow)
1 weld (90 angle) | (90 mitre)
2 welds (45 angle) | (90 mitre)
3 welds (30 angle) | (90 mitre)
4 welds (22.5 angle) | (90 mitre)
5 welds (18 angle) | (90 mitre)
Standard (r/d=1), all types | (45 elbow)
Long-radius (r/d=1.5), all types | (45 elbow)
1 weld (45 angle) | (45 mitre)
2 welds (22.5 angle) | (45 mitre)
Standard (r/d=1), screwed | (180 elbow)
Standard (r/d=1), flanged/welded | (180 elbow)
Long-radius (r/d=1.5), all types | (180 elbow)
Standard, screwed | (tee)
Long-radius, screwed | (tee)
Standard, flanged or welded | (tee)
Stub-in-type branch | (tee)
Screwed | (tee)
Flanged or welded | (tee)
Stub-in-type branch | (tee)
Full line size, β = 1.0 | (valve)
Reduced Trim, β = 0.9 | (valve)
Reduced Trim, β = 0.8 | (valve)
Standard | (valve)
Angle or Y-type | (valve)
Diaphragm, dam type | (valve)
Butterfly | (valve)
Lift Check Valve | (check valve)
Swing Check Valve | (check valve)
Tilting-disk Check Valve | (check valve)
Pipe entrance (Normal) | (pipe entrance)
Pipe entrance (Borda) | (pipe entrance)
Pipe exit | (pipe exit)
Resistance Coefficiency | K
Calculated Fitting | m
2-Phase
Elements-1 Name
nd
sch
id
ruogh
l
a
d1/d2
Mass Flowrate(L) | kg/h
Mass Flowrate(V) | kg/h
Density(L) | kg/m3
Density(V) | kg/m3
Viscosity(L) | cP
Viscosity(V) | cP
P | kg/cm2
T | ℃
MW | -
Z | -
Reducer K
Expander K
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Loop 1 static loss |  | 1: 0; 2: 0.04714; 3: -0.04714; 4: 0
Loop 1 friction loss |  | 1: 0.404; 2: 0.404; 3: 0.404; 4: 0.002
Loop 1 end P |  | 1: 84.596; 2: 83.6449; 3: 66.138; 4: 63
Loop 2 static loss |  | 0 | 0.04714 | -0.04714 |  | 0 | 0 | 0.04714 |  |  | 0.89565
Loop 2 friction loss |  | 0.404 | 0.404 | 0.404 |  | 0.771 | 1.696 | 0.518 |  |  | 0.518
Loop 2 end P |  | 84.596 | 83.6449 | 66.138 |  | 65.367 | 63.671 | 63.1059 |  |  | 41.5
Loop 3 static loss |  | 0 | 0.04714 | -0.04714 |  | 0 | 0 |  | 0.04714 | 0.89565
Loop 3 friction loss |  | 0.404 | 0.404 | 0.404 |  | 0.771 | 1.696 |  | 0.153 | 0.153
Loop 3 end P |  | 84.596 | 83.6449 | 66.138 |  | 65.367 | 63.671 |  | 63.4709 | 41.5
Loop 4 static loss
Loop 4 friction loss
Loop 4 end P

## Equip_DB
General type |  | B_L_R_2_N1 | Ori_Flowmeter_H_1 | CV_H_1 | B_L_R_1_N2 | Line_Splitter_1 | Line_Splitter_2 | Line_Splitter_3 | CV_H_2 | CV_H_3 | Drum_H_1_N5 | Drum_H_2_N5
Description |  | To DS-1990 | 19-FT-9905 | 19-FV-9905 | BFW BL | sp | sp | sp | FV-1934 | FV-1924 | F-4301 WHB1 | F-4301 WHB2
Pressure | kg/cm2(g) | 63 |  |  | 85 | [5 empty] | 41.5 | 41.5
Pressure Drop | kg/cm2 |  | 0.5 | 17.15 |  | 0 | 0 | 0 | 20.922 | 20.192
Elevation | m | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0.5 | 0.5 | 10 | 10
Over Design for CV | % |  |  | 0 |  |  |  |  | 0 | 0
CV Type
Pump dP
Total Discharge Loss |  | 0 |  |  |  |  | 0.94279 |  |  |  |  | 0.94279
Total Suction Loss |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
Total Loss |  | 0 |  |  |  |  | 0.94279 |  |  |  |  | 0.94279
Discharge Device Loss |  | 0.5 |  |  |  |  | 0.5 |  |  |  |  | 0.5
Suction Device Loss |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
Total Device Loss |  | 17.65 |  |  |  |  | 37.842 |  |  |  |  | 38.572
Discharge Line Friction Loss |  | 1.214 |  |  |  |  | 4.715 |  |  |  |  | 3.985
Suction Line Friction Loss |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
Line Total Frictoin Loss |  | 1.214 |  |  |  |  | 4.715 |  |  |  |  | 3.985
| 6 | 18.864 |  |  |  |  | 43.4998 |  |  |  |  | 43.4998
Tag_Font_Soze | 8 | 0
des_Tb1 | 2
des_Tb2
des_Tb3
des_Tb4
des_Cloud
des_focus
des_arr1 | 1
des_arr2
des_arr3
CTRL_C_Selected_Num
CTRL_C_Selected_Equipment

## Vapor_DB
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## 2_DB
no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t
no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t
no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t
no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t
no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t
no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t | no | Element | d | l | a | k | p | v | q | d | vd | av | mv | ev | x | y | r | f | g | m | t

## Calc_Result
Loop_Deviation
(01) 1-3-4-4 = 3.136 kg/cm2
(02) 1-3-5-6-7-10 = 0 kg/cm2
(03) 1-3-5-6-8-9 = 0 kg/cm2
19-FV-9905 |  |  | FV-1934
Inlet P: | 83.645 | kg/cm2.g | Inlet P: | 63.471 | kg/cm2.g
Outlet P: | 66.495 | kg/cm2.g | Outlet P: | 42.549 | kg/cm2.g
Diff. P: | 17.15 | kg/cm2 | Diff. P: | 20.922 | kg/cm2
dP Ratio: | 90.91 | % | dP Ratio: | 82.35 | %
FV-1924
Inlet P: | 63.106 | kg/cm2.g
Outlet P: | 42.914 | kg/cm2.g
Diff. P: | 20.192 | kg/cm2
dP Ratio: | 79.47 | %

## History
Create | 2018-10-22 13:05 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166 | Job Type | S
Activity | Date | Department | Name | IP | Job No. | SC6007
Calculation | 2018-08-06 15:26 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166 | Job Name | GC OXIRANE PO Project
Calculation | 2018-09-19 14:45 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166 | Rev. | 2
Save | 2018-09-19 14:45 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166 | Description | BFW inlet
Calculation | 2018-09-19 15:53 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166 |  | G.H.Lee
Calculation | 2018-09-19 15:54 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166 |  | J.M.Oh
Save | 2018-09-19 15:56 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-09-19 16:00 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-09-19 16:00 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-09-19 16:05 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-09-27 16:47 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-16 11:34 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-16 11:35 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-17 08:57 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-17 08:57 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-17 08:58 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-17 09:45 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-10-17 11:25 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-10-17 17:49 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 09:59 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 10:14 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 10:14 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 10:16 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 10:16 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 13:07 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 13:07 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 14:42 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 14:43 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 14:43 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 14:43 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 14:44 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Calculation | 2018-10-22 14:44 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-10-22 15:00 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-10-22 17:44 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-10-25 10:04 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-10-25 10:09 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166
Save | 2018-10-25 11:40 | Process Engineering Dept. | Y.D.Cho | 66.86.3.166